Simple Fecal Floatation

Learning Goals - To develop student proficiency in performing and understanding fecal flotation procedures for the detection of common internal parasite eggs commonly found in domestic animals.

Learning Objectives - Upon completion of this laboratory exercise, students will be able to:

- Explain the purpose and principles of fecal flotation for the detection of gastrointestinal parasites.

- Identify the equipment, materials, and flotation solutions used in a fecal flotation procedure.

- Perform a fecal flotation procedure using proper laboratory safety and sample-handling techniques.

- Prepare and examine fecal flotation slides using a compound microscope.

- Recognize common parasite eggs and oocysts and interpret their significance to animal health and parasite management.

- Materials

  - Small cups (Dixie cup, paper cup, Styrofoam)

  - Tongue depressors, or plastic spoons

  - Cheesecloth or tea strainer

  - Microscope

  - Microscope Slides and coverslips

  - 10-15 ml test tubes or centrifuge tubes

  - Test tube rack

  - Fecal solution

    - Sodium Nitrate Solution: Specific Gravity of 1.200-1.330

      - Commercially prepared, works well, less messy

    - Sugar solution, inexpensive, doesn’t distort eggs

      - 45% sugar by weight to 55% water by weight

- Procedure

  - Fill a paper cup with approximately 10 mL of float solution

  - Using a tongue depressor or spoon, add approximately 2 to 4 grams (0.5–1 tsp) of fresh feces

  - Mix feces well with float solution

  - Strain, using wire strainer or cheesecloth, into a second cup

    - Remove as much fluid as possible from the fecal material in the strainer

  - Discard feces left in the strainer and wash strainer with hot water for reuse or discard cheesecloth

  - Swirl strained fecal suspension in the cup to randomly disperse eggs and pour mixture into vial until fluid projects above rim of the vial, creating a positive meniscus. Add additional float solution if needed

  - Place a coverslip on top of the fluid and allow eggs to float upward

  - After a minimum of 10 to 20 minutes, remove coverslip (straight up), trying not to tilt fluid back into vial, and place it on a glass slide

  - Examine slide under microscope